Departments and Machines Mapping

# Total Departments(PPM, OCM, Employee, Machines)

# 4A, 4B, 5A, 5B, 6A, 6B, ANESTHESIA, CARDIOLOGY, CSSD, DENTAL, DERMA, ENDOSCOPY, ENT, ER, IM, IVF, LAB, LAUNDRY, LDR, NICU, NURSING ADMIN, OB, OB1, OB2, OB3, OB-OLD, OBG, OPD, OPHA, OPHTHA, OR, PEDIA, PLASTIC, PT, RADIOLOGY, SURGERY, SURGERY ORTHOPEDIC, UROLOGY, XRAY

# Machines in Each Department

## 4A

* CTG MACHINE
* ECG MACHINE
* PULSE OXIMETER
* ULTRASOUND ECHO
* VITAL SIGN MONITOR
* WEIGHING SCALE

## 4B

* BP MONITOR
* DEFIBRILATOR
* ECG MACHINE
* ECHO MACHINE
* HOLTER MACHINE
* INFUSION PUMP
* PULSE OXIMETER
* TMT MACHINE
* TONOTRACK ABPM
* ULTRASOUND ECHO MACHINE
* VITAL SIGN MONITOR
* WEIGHING SCALE

## 5A

* BLOOD WARMER
* CTG MACHINE
* DEFIBRILATOR
* DVT MACHINE
* ECG MACHINE
* FETAL DOPPLER
* INFUSION PUMP
* NEBULIZER
* PULSE OXIMETER
* REFRIGERATOR
* SYRINGE PUMP

## 5B

* DVT MACHINE
* ECG MACHINE
* FETAL DOPPLER
* INFUSION PUMP
* PULSE OXIMETER
* REFRIGERATOR
* SYRINGE PUMP

## 6A

* BLOOD WARMER
* CTG MACHINE
* DEFIBRILATOR
* DVT MACHINE
* ECG MACHINE
* FETAL DOPPLER
* INFUSION PUMP
* NEBULIZER
* PULSE OXIMETER
* SYRINGE PUMP

## 6B

* DVT MACHINE
* ECG MACHINE
* INFUSION PUMP
* NEBULIZER
* PULSE OXIMETER
* SYRINGE PUMP

## CSSD

* AUTOCLAVE MACHINE
* BIOLOGICAL INCUBATOR
* CODA AIR FILTER
* DRYING CABINET
* SEALER MACHINE
* ULTRASONIC CLEANER
* WASHER DISINFECTOR

## DENTAL

* AMALGAMATOR
* AUTOCLAVE MACHINE
* BIOLASE EPIC
* CEREC AC
* DAC MACHINE
* DENTAL CURING LIGHT
* DENTAL UNIT
* DIODE LASERSYSTEM
* DISPOSAL SHIELD
* ENDO MOTOR
* ENDO POCKET
* ENDO UNIT
* ENDODONTIC OBTURATION
* HERON IOS
* IMPLANT XT PLUS
* INTRA ORAL SCANNER
* INTRA ORAL X-RAY
* LUBRICATING UNIT
* MILLING MACHINE
* OBI SCANNER
* OBTURATION SYSTEM
* PANORAMIC XRAY
* PENTAMIX UNIT
* PENTAMIX UTE
* PHILIPS ZOOM LIGHT
* PROMIX2
* ROOT 2X MINI
* SCALER & POLISHER
* SEALING MACHINE
* STARLIGHT UNO
* SYMPRESS 11
* TRIAUTOMINI
* ULTRASONIC CLEANER
* UPS
* WARM VERTICALDEVICE
* WATER DISTILLER
* WATERLASE
* ZOOM BLEACHING

## DERMA

* ACCENT PRIME
* AIRMAN BIOFILLER
* CANDELA LASER
* CAUTERY MACHINE
* CENTRIFUGE
* CLARITY II
* CO2 LASER
* COOLING MACHINE
* DEKA MED
* DERMA BRASSION
* DIAMOND PEEL
* ELECTROSURGICAL UNIT
* ELLIPSE LASER
* ENERGIST-NITROGEN PLASMA SYSTEM
* EXCIPLEX PHOTOTHERAPY
* FACIAL MACHINE BEAUTY
* FACIAL STEAMER
* HIFU SHAPER
* HYDRAFACIAL MACHINE
* HYFIECATOR2000
* LIGHT WAVE
* LUMINIS ONE
* MESALYSE
* MESOJET
* PHOTOTHERAPY UNIT
* POLLOGEN
* SMOKE EVACUATOR
* STAR WALKER LASER MACHINE
* SWIFT MACHINE
* TMT SYSTEM
* TRIPOCAT DEVICE
* ULTRACEL MACHINE
* UV LIGHT
* VASCULAR LASER
* WEIGHING SCALE

## ENDOSCOPY

* DEFIBRILLATOR
* DRYING CABINET
* ELECTRO SURGICAL UNIT
* ENDOCAPSULE
* ENDOSCOPE WASHER
* NP3 MOBIE WORKSTATION
* OXYGEN CONCENTRATION
* PATIENT MONITOR
* SUCTION MACHINE
* VIDEO CENTRE
* WEIGHING SCALE
* XENON LIGHT

## ENT

* AIDA C
* AUDIOMETER
* AUDIOMETRIC BOOTH
* ELECTROCOAGULATOR
* ENT CHAIR
* ENT MICROSCOPE
* ENT UNIT
* ENT WORK STATION
* EXAMINATION CHAIR
* IQAM
* IVIEW31
* MONITOR
* OPERATING SURGICAL MICROSCOPY
* TELECAM C3
* TELEPACK XLED MONITOR
* TYMPANOMETER
* WEIGHING SCALE

## ER

* BABY WEIGHING SCALE
* CTG MACHINE
* DEFIBRILLATOR
* DOPPLER
* ECG MACHINE
* INFUSION PUMP
* NEBULIZER
* PATIENT MONITOR
* PULSE OXIMETER
* REFRIGERATOR
* SUCTION FLOWMETER
* SUCTION MACHINE
* SYRINGE PUMP
* ULTRASOUND
* VEIN VIEWER
* VENTILATOR
* VITAL SIGN MONITOR
* WEIGHING SCALE

## IM

* DEFIBRILLATOR
* ECG MACHINE
* PULSE OXIMETER
* SUDOSCAN
* VITAL SIGNMONITOR
* WEIGHING SCALE

## IVF

* BENCH TOP INCUBATOR
* BURNER
* CENTRIFUGE
* CODA AIR FILTER
* HEATING PLATE
* HEATING TABLE
* INCUBATOR
* IVF WORK STATION
* LABEL PRINTER
* LAMINAR WORK STATION
* MANIPULATOR
* MICROSCOPE
* TEST TUBE HEATER
* THERMO BRITE
* THERMOPLATE

## LAB

* AICARE ANALYZER
* BD BACTEC FX40
* BD PHOENIX M50
* BIOCHEMESTRY
* BLOOD BANK REFRIGERATOR
* BLOOD MIXER
* BOISAFETY CABINET
* CENTRIFUGE
* CHEMISTRY ANALYZER
* COATRON X
* DUCTLESS FUME HOOD
* ELECTROLYTE ANALYSER
* GFL WATER BATH
* HEMATOLOGY ANALYSER
* HORMONE ANALYZER
* HYKD BREATH ANALYSIS
* I CHROMA 11
* INCUBATOR
* INCUBATOR FOR ANTI-ACP
* MICROPROBE LYSIS BLOCK
* MICROPROBE PROCESSOR
* MICROSCOPE
* ORTHO OPTICS READER
* ORTHO WORK STATION
* PHOENIXSPEC NEPHLOMETER
* PLASMA FREEZER
* ROTATOR
* SPERM ANALYSER
* STAT ANALYSER
* TECO COATRON A4
* TRIAGE METER PRO
* URINE ANALYSER
* VORTEX MIXER
* WATER DISTILLER
* WEIGHING SCALE

## LAUNDRY

* CLOTH DRYER
* CODA FILTER
* ELECTRIC BOILER
* FLAT IRON
* PRESS IRON
* WASHING

## LDR

* BABY WEIGHING SCALE
* BLOOD GAS ANALYSER
* BLOOD WARMER
* CTG MACHINE
* DEFIBRILATOR
* ECG MACHINE
* FETAL DOPPLER
* FLUID WARMING CABINET
* INFANT RESUSCITATOR
* INFANT WARMER
* INFUSION PUMP
* NITROUS MACHINE
* PATIENT MONITOR
* SUCTION MACHINE
* SYRINGE PUMP
* ULTRASOUND

## NICU

* ABG MACHINE
* BUBBLE CPAP(BLENDER)
* BUBBLE CPAP(HUMIDIFIER)
* COOLING MACHINE
* DEFIBRILLATOR
* ECG MACHINE
* INFANT VEIN VIEWER
* INFANT VENTILATOR
* INFANT WARMER
* IV INFUSION PUMP
* JAUNDICE DETECTOR
* MEDICAL INCUBATOR
* NITRIC OXIDE MONITOR
* PHOTOTHERAPY CAPSULE
* PHOTOTHERAPY LAMP
* PORTABLE X-RAY
* PULSE OXIMETER
* RESPIRATORY HUMIDIFIER
* SYRINGE PUMP
* T-PIECE RESUSCITATOR
* TRANSPORT INCUBATOR
* TRANSPORT VENTILATOR
* UPS
* VITAL SIGN MONITOR

## OB

* CENTRIFUGE
* COLPOSCOPY
* CTG MACHINE
* DEFIBRILLATOR
* ELECTRO SURGICAL UNIT
* EXAMINATION LIGHT
* HYSTEROSCOPHY
* INCONTINENCE TREATMENT
* INFUSION PUMP
* LASER MACHINE
* PRP&CELL THERAPY
* SPT CENTRIFUGE
* SUCTION MACHINE
* ULTRASOUND
* URINE ANALYSER
* VITAL SIGN MONITOR
* WEIGHING SCALE

## OPTHA

* 3D OCT
* ALLEGRO OCULYSER
* AUTO LENS METER
* AUTO REF/KERA
* BIOMETER
* EXAM UNIT
* FRASTEMA EXAM UNIT + CHAIR
* INDIRECT OPTHALMOLOGY
* LENS METER
* NIDEK SYSTEM CHART
* OPHTHALMOSCOPE
* REFRACTOR
* SLIT LAMP
* SYSTEM CHART
* TONOMETER
* WEIGHING MACHINE

## OR

* ADAPTIVE VENTILATOR
* ANESTHESIA MACHINE
* ARGO PLASMA
* ARTHOCARE SPOT MEDICINE
* ASPIRATOR
* BELMONT INFUSION PUMP
* BLANKET/SALINE WARMER
* BLOOD WARMER
* C-ARM MACHINE
* CAMERA UNIT
* CAUTERY MACHINE
* CCU IMAGE I CONNECT
* COLD VASER PROMELTER
* COLOUR VIDEO PRINTER
* COLPOSCOPE
* CONTROL UNIT
* CRAFT SUCTION UNIT
* DEFIBRILATOR
* DENTAL EQUIPMENT UNIT
* DENTAL SCALER MACHINE
* DIGITAL TOURNIQUET
* DIGITAL VIDEO COLPOSCOPE
* DVT MACHINE
* ELECTRIC HAND PIECE
* ELECTRO SURGICAL UNIT
* ELECTRONIC ENDOFLATOR
* ENDODERMAL RADIO
* ENDOSCOPIC CLR LCD
* ENDOSCOPIC UNIT
* ENDOSCOPY TOWER
* ENT MICROSCOPE
* ENT SHAVER SYSTEM
* ESWL
* ETHICON ENDOSURGERY
* FEMTOSECOND LASER
* FLOW CONTROL VALVE
* GLIDESCOPE
* HD CAMERA SOURCE
* HD VIDEO RECORDER
* HYDRO IRRIGATION MACHINE
* INFANT RESUCITATOR
* INFILTRATION PUMP
* INSUFFLATOR
* IRRIGATION PUMP
* LAMINATING MACHINE
* LASER UNIT FOR TIGHTENING
* LED LIGHT SOURCE
* LIGHT SOURCE
* LIPO MACHINE
* LIPO VASER
* MONITOR ESWL
* NAVIGATION ENT
* NOMOGRAM
* O.R LIGHT
* O.R TABLE
* OPTHALMIC MICROSCOPE
* ORAL XRAY
* PATIENT MONITOR
* PORTABLE EXAM.LIGHT
* PORTABLE VENTILATOR
* POWER LED 175
* POWERX SYSTEM
* PT BED OPTHA
* REFRIGERATOR
* SHAVER
* SMOKE EVACUATOR
* SUCTION IRRIGATION
* SUCTION PUMP
* SYRINGE PUMP
* SYSTEM BATTERY CHARGE
* ULTIMATE ASPIRATOR UNIT
* ULTRASONIC BIPOLAR GENERATOR
* ULTRASONIC SURGICAL
* ULTRASOUND
* UNI DRIVE II
* UPS
* UROLOGY LASER
* VACCUM MACHINE
* VENTILATOR
* VIDEO CENTER MONITOR
* VIDEO RECORDER
* VTRUVIAN ULTMATE ASPIRATOR
* WARMER CABINET
* WATER BATH
* WEIGHING SCALE

## PEDIA

* BABY WEIGHING SCALE
* ECG MACHINE
* ECHO MACHINE
* PULSE OXIMETER
* VITAL SIGN MONITOR
* WEIGHING SCALE

## PLASTIC

* 3-MAX COOL SHAPING
* WEIGHING SCALE

## PT

* COAX MED
* COMPRESSIBLE LIMB &
* COMPUTERIZED IFT+MST+TENS
* ELECTRO THERAPY
* HYDROCOLLATOR UNIT
* INFRA RED LIGHT
* KNEE CPM MACHINE
* LASER THERAPY
* MASSAGER UNIT
* PARAFFIN WAX BATH
* PATIENT BED
* SHOCKWAVE THERAPY
* THERAPIC
* TREADMILL
* TRUE EASY REAR ENTRY
* ULTRASONIC
* ULTRASOUND AND MUSCLE STIMULATOR
* WEIGHING SCALE

## RADIOLOGY

* ANESTHESIA MACHINE
* BONE DENSITOMATEX
* BP APPARATUS
* CD BURNER
* CD READER
* CT SCAN
* DEFIBRILATOR
* FLUROSCOPY
* INJECTOR
* LASER PRINTER
* MAMMOGRAPHY
* MRI 1.5 T
* PATIENT MONITOR
* ULTRASOUND
* UPS
* WEIGHING SCALE
* X-RAY MACHINE
* XEROX PRINTER

## SURGERY

* ARGON LASER UNIT
* AUDIO METRIC BOOTH
* FLOW METER
* MIDDLE EAR ANALYZER
* PERIMETER
* PULSE OXIMETER
* VITAL SIGN MONITOR
* WEIGHING SCALE